## Breakdown
ITEM # | DWG. # | DESCRIPTION | QUANTITY | UNIT | MATERIAL | LABOR | UNIT COST (Labor + Material) | TOTAL COST | TRADE COST
GENERAL REQUIREMENTS
1 |  | Supervision | 1 | LS | 0 | 0 | 0 | 0
2 |  | Permits | 1 | LS | 0 | 0 | 0 | 0
3 |  | Final Clean-up | 1 | LS | 0 | 0 | 0 | 0
4 |  | Mobilization Costs | 1 | LS | 0 | 0 | 0 | 0
5 |  | Project Overheads | 1 | LS | 0 | 0 | 0 | 0
6 |  | Bonds | 1 | LS | 0 | 0 | 0 | 0
7 |  | Temporary Control & Facilities | 1 | LS | 0 | 0 | 0 | 0
|  | Subtotal (General Requirements) | [6 empty] | 0
DIVISION 26- ELECTRICAL
Electrical Site Plan
8 |  | Inground Upplight | 4 | EA | 300 | 150 | 450 | 1800
9 |  | Single Head Lithonia Site Light | 5 | EA | 300 | 150 | 450 | 2250
10 |  | Twin Head Lithonia Site Light | 2 | EA | 300 | 150 | 450 | 900
11 |  | Transformer | 1 | EA | 4500 | 500 | 5000 | 5000
12 |  | Exterior Sconce | 2 | EA | 200 | 100 | 300 | 600
13 |  | C/T and Meter | 1 | EA | 1400 | 700 | 2100 | 2100
14 |  | Time Clock | 1 | EA | 150 | 100 | 250 | 250
15 |  | Switch Board | 1 | EA | 1500 | 700 | 2200 | 2200
Electrical Power and Systems - First Floor Plan
16 |  | Junction Box | 26 | EA | 150 | 100 | 250 | 6500
17 |  | Outlet | 64 | EA | 140 | 90 | 230 | 14720
18 |  | Emergency Outlet | 60 | EA | 140 | 90 | 230 | 13800
19 |  | Fire Alarm Annunciator Panel | 1 | EA | 1600 | 800 | 2400 | 2400
20 |  | Smoke Detector | 20 | EA | 200 | 100 | 300 | 6000
21 |  | Disconnect Switch | 27 | EA | 200 | 100 | 300 | 8100
22 |  | Single Pole Switch | 14 | EA | 70 | 50 | 120 | 1680
23 |  | Telephone Outlet | 1 | EA | 140 | 90 | 230 | 230
24 |  | Outlet Box | 2 | EA | 140 | 90 | 230 | 460
25 |  | Combination Outlet and Data Box | 9 | EA | 140 | 90 | 230 | 2070
26 |  | Waterproof Outlet | 13 | EA | 140 | 90 | 230 | 2990
27 |  | C/T and Meter (2000 A) | 1 | EA | 1400 | 700 | 2100 | 2100
28 |  | Switchboard (2000 A) | 1 | EA | 1500 | 700 | 2200 | 2200
29 |  | Mechanical Pool Electrical Panel | 1 | EA | 1600 | 800 | 2400 | 2400
30 |  | Damper | 1 | EA | 150 | 100 | 250 | 250
31 |  | Pool Heater Control Panel | 1 | EA | 1600 | 800 | 2400 | 2400
32 |  | Wall Mounted TV | 5 | EA | 150 | 100 | 250 | 1250
33 |  | Data Outlet | 22 | EA | 140 | 90 | 230 | 5060
34 |  | Duplex Receptacle | 9 | EA | 150 | 100 | 250 | 2250
35 |  | Speaker | 11 | EA | 210 | 110 | 320 | 3520
36 |  | Fire Alarm | 25 | EA | 200 | 100 | 300 | 7500
37 |  | Pull Switch | 1 | EA | 70 | 50 | 120 | 120
38 |  | Horn | 3 | EA | 200 | 100 | 300 | 900
39 |  | Rescue Assistance Call Station | 1 | EA | 450 | 200 | 650 | 650
40 |  | Master Rescue Assistance Panel | 1 | EA | 1600 | 800 | 2400 | 2400
41 |  | Door Activation Switch | 1 | EA | 70 | 50 | 120 | 120
42 |  | Sounder | 1 | EA | 210 | 110 | 320 | 320
43 |  | Electrical Panel (208 V) | 10 | EA | 1600 | 800 | 2400 | 24000
44 |  | Strobe | 2 | EA | 200 | 100 | 300 | 600
45 |  | Double Data Outlet | 2 | EA | 140 | 90 | 230 | 460
Electrical Power and Systems - Second Floor Plan
46 |  | Rescue Assistance Call Station | 2 | EA | 450 | 200 | 650 | 1300
47 |  | Outlet | 10 | EA | 140 | 90 | 230 | 2300
48 |  | Smoke Detector | 3 | EA | 200 | 100 | 300 | 900
49 |  | Fire Alarm | 2 | EA | 200 | 100 | 300 | 600
50 |  | Data Outlet | 1 | EA | 140 | 90 | 230 | 230
51 |  | Speaker | 1 | EA | 210 | 110 | 320 | 320
Electrical Power and Systems - Third Floor Plan
52 |  | Speaker | 1 | EA | 210 | 110 | 320 | 320
53 |  | Outlet | 12 | EA | 140 | 90 | 230 | 2760
54 |  | Smoke Detector | 3 | EA | 200 | 100 | 300 | 900
55 |  | Data Outlet | 1 | EA | 140 | 90 | 230 | 230
56 |  | Fire Alarm | 2 | EA | 200 | 100 | 300 | 600
57 |  | Rescue Assistance Call Station | 2 | EA | 450 | 200 | 650 | 1300
Electrical Power and Systems - Fourth Floor Plan
58 |  | Rescue Assistance Call Station | 2 | EA | 450 | 200 | 650 | 1300
59 |  | Outlet | 10 | EA | 140 | 90 | 230 | 2300
60 |  | Smoke Detector | 4 | EA | 200 | 100 | 300 | 1200
61 |  | Fire Alarm | 3 | EA | 200 | 100 | 300 | 900
62 |  | Speaker | 1 | EA | 210 | 110 | 320 | 320
Electrical Roof Plan
63 |  | Junction Box | 2 | EA | 150 | 100 | 250 | 500
64 |  | Disconnect Switch | 2 | EA | 200 | 100 | 300 | 600
65 |  | Fire Alarm | 2 | EA | 200 | 100 | 300 | 600
66 |  | Single Pole Switch | 7 | EA | 70 | 50 | 120 | 840
67 |  | Waterproof Outlet | 4 | EA | 140 | 90 | 230 | 920
68 |  | Roof Panel | 1 | EA | 1600 | 800 | 2400 | 2400
Electrical Lighting - first Floor Plan
69 |  | Exterior Sconce | 11 | EA | 200 | 100 | 300 | 3300
70 |  | Recessed Wall Wash | 42 | EA | 280 | 140 | 420 | 17640
71 |  | Inground Upplight | 5 | EA | 300 | 150 | 450 | 2250
72 |  | Recessed Downlight W/ Lens | 53 | EA | 300 | 150 | 450 | 23850
73 |  | Recessed Downlight | 65 | EA | 300 | 150 | 450 | 29250
74 |  | Battery 6 Volt Emergency Light W/ 2 Heads | 14 | EA | 300 | 150 | 450 | 6300
75 |  | Exterior Recessed Downlight | 3 | EA | 300 | 150 | 450 | 1350
76 |  | Battery 6 Volt Emergency Light W/ 2 Heads | 6 | EA | 300 | 150 | 450 | 2700
77 |  | Recessed Night Downlight | 1 | EA | 300 | 150 | 450 | 450
78 |  | LED Lamps Single Face Exit Light | 11 | EA | 320 | 150 | 470 | 5170
79 |  | Switch | 30 | EA | 70 | 50 | 120 | 3600
80 |  | Small Recessed Downlight (Halogen Lamp) | 15 | EA | 300 | 150 | 450 | 6750
81 |  | Surface Mounted Fixture | 12 | EA | 300 | 150 | 450 | 5400
82 |  | Weatherproof Egress Twin Head Light | 5 | EA | 300 | 150 | 450 | 2250
83 |  | Time Clock | 2 | EA | 150 | 100 | 250 | 500
84 |  | Exit Light | 2 | EA | 300 | 150 | 450 | 900
85 |  | Wall Sconce | 14 | EA | 200 | 100 | 300 | 4200
86 |  | Wall Sconce @ Entry | 1 | EA | 200 | 100 | 300 | 300
87 |  | (1x4) Surface Mounted Fluorescent Light | 12 | EA | 290 | 150 | 440 | 5280
88 |  | (2x4) Lay In Floor Fixture | 24 | EA | 300 | 150 | 450 | 10800
89 |  | Square Surface Mounted Fixture | 2 | EA | 300 | 150 | 450 | 900
90 |  | Suspended Light Fixture | 1 | EA | 300 | 150 | 450 | 450
91 |  | Round Suspended Light Fixture | 3 | EA | 300 | 150 | 450 | 1350
92 |  | Wall Mounted Strip Light (4 Feet) | 1 | EA | 300 | 150 | 450 | 450
93 |  | Elevator Pit Lamp holder W/ Glass Globe | 1 | EA | 280 | 140 | 420 | 420
94 |  | Exterior Heavy Duty Light String | 220.23 | FT | 15 | 10 | 25 | 5505.75
95 |  | Wall Sconce @ Pool | 12 | EA | 200 | 100 | 300 | 3600
96 |  | 13 Dimmers | 1 | EA | 80 | 50 | 130 | 130
97 |  | Recessed Night Downlight W/ Lens | 2 | EA | 300 | 150 | 450 | 900
98 |  | Recessed Fluorescent Cove Light (4 Feet) | 11 | EA | 290 | 150 | 440 | 4840
99 |  | Light Fixture | 3 | EA | 300 | 150 | 450 | 1350
Electrical Lighting - Second Floor Plan
100 |  | Battery 6 Volt Emergency Light W/ 2 Heads | 10 | EA | 300 | 150 | 450 | 4500
101 |  | (1x4) Surface Mounted Fluorescent Light | 6 | EA | 290 | 150 | 440 | 2640
102 |  | Wall Mounted Strip Light (4 Feet) | 4 | EA | 300 | 150 | 450 | 1800
103 |  | LED Lamps Single Face Exit Light | 5 | EA | 320 | 150 | 470 | 2350
104 |  | Recessed Wall Wash | 4 | EA | 280 | 140 | 420 | 1680
105 |  | Small Recessed Downlight (Halogen Lamp) | 2 | EA | 300 | 150 | 450 | 900
106 |  | Recessed Downlight | 3 | EA | 300 | 150 | 450 | 1350
107 |  | Wall Sconce | 31 | EA | 200 | 100 | 300 | 9300
108 |  | Switch | 1 | EA | 70 | 50 | 120 | 120
Electrical Lighting - Third Floor Plan
109 |  | Battery 6 Volt Emergency Light W/ 2 Heads | 10 | EA | 300 | 150 | 450 | 4500
110 |  | (1x4) Surface Mounted Fluorescent Light | 5 | EA | 290 | 150 | 440 | 2200
111 |  | Wall Mounted Strip Light (4 Feet) | 4 | EA | 300 | 150 | 450 | 1800
112 |  | LED Lamps Single Face Exit Light | 7 | EA | 320 | 150 | 470 | 3290
113 |  | Recessed Wall Wash | 4 | EA | 280 | 140 | 420 | 1680
114 |  | Small Recessed Downlight (Halogen Lamp) | 3 | EA | 300 | 150 | 450 | 1350
115 |  | Recessed Downlight | 3 | EA | 300 | 150 | 450 | 1350
116 |  | Wall Sconce | 31 | EA | 200 | 100 | 300 | 9300
117 |  | Switch | 1 | EA | 70 | 50 | 120 | 120
Electrical Lighting - Fourth Floor Plan
118 |  | Switch | 1 | EA | 70 | 50 | 120 | 120
119 |  | Wall Sconce | 31 | EA | 200 | 100 | 300 | 9300
120 |  | Battery 6 Volt Emergency Light W/ 2 Heads | 10 | EA | 300 | 150 | 450 | 4500
121 |  | Wall Mounted Strip Light (4 Feet) | 4 | EA | 300 | 150 | 450 | 1800
122 |  | LED Lamps Single Face Exit Light | 7 | EA | 320 | 150 | 470 | 3290
123 |  | Recessed Downlight | 3 | EA | 300 | 150 | 450 | 1350
124 |  | Small Recessed Downlight (Halogen Lamp) | 2 | EA | 300 | 150 | 450 | 900
125 |  | Recessed Wall Wash | 4 | EA | 280 | 140 | 420 | 1680
126 |  | (1x4) Surface Mounted Fluorescent Light | 5 | EA | 290 | 150 | 440 | 2200
Queen Studio
127 |  | Duplex Receptacle | 158 | EA | 150 | 100 | 250 | 39500
128 |  | Horn | 316 | EA | 200 | 100 | 300 | 94800
129 |  | Recessed Ceiling Light | 79 | EA | 300 | 150 | 450 | 35550
130 |  | Switch | 316 | EA | 70 | 50 | 120 | 37920
131 |  | Outlet | 395 | EA | 140 | 90 | 230 | 90850
132 |  | Emergency Outlet | 553 | EA | 140 | 90 | 230 | 127190
133 |  | Junction Box | 158 | EA | 150 | 100 | 250 | 39500
134 |  | Smoke Detector | 79 | EA | 200 | 100 | 300 | 23700
135 |  | Data Outlet | 237 | EA | 140 | 90 | 230 | 54510
136 |  | Sconce | 79 | EA | 200 | 100 | 300 | 23700
137 |  | Recessed Downlight | 237 | EA | 300 | 150 | 450 | 106650
138 |  | Wall Mounted TV | 79 | EA | 150 | 100 | 250 | 19750
139 |  | Electrical Panel | 79 | EA | 1600 | 800 | 2400 | 189600
140 |  | WAP Light | 79 | EA | 300 | 150 | 450 | 35550
141 |  | Light Fixture | 79 | EA | 300 | 150 | 450 | 35550
Queen One Bedroom - 1
142 |  | Outlet | 24 | EA | 140 | 90 | 230 | 5520
143 |  | Switch | 24 | EA | 70 | 50 | 120 | 2880
144 |  | Emergency Outlet | 28 | EA | 140 | 90 | 230 | 6440
145 |  | Duplex Receptacle | 8 | EA | 150 | 100 | 250 | 2000
146 |  | Recessed Downlight | 20 | EA | 300 | 150 | 450 | 9000
147 |  | Junction Box | 8 | EA | 150 | 100 | 250 | 2000
148 |  | Smoke Detector | 8 | EA | 200 | 100 | 300 | 2400
149 |  | WAP Light | 4 | EA | 300 | 150 | 450 | 1800
150 |  | Data Outlet | 20 | EA | 140 | 90 | 230 | 4600
151 |  | Duplex Receptacle | 4 | EA | 150 | 100 | 250 | 1000
152 |  | Wall Mounted TV | 8 | EA | 150 | 100 | 250 | 2000
153 |  | Recessed Ceiling Light | 4 | EA | 300 | 150 | 450 | 1800
154 |  | Horn | 8 | EA | 200 | 100 | 300 | 2400
155 |  | Electrical Panel | 4 | EA | 1600 | 800 | 2400 | 9600
156 |  | 3 Way Switch | 8 | EA | 70 | 50 | 120 | 960
157 |  | Sconce | 4 | EA | 200 | 100 | 300 | 1200
158 |  | Nightlight | 4 | EA | 300 | 150 | 450 | 1800
Queen One Bedroom - 2
159 |  | Duplex Receptacle | 4 | EA | 150 | 100 | 250 | 1000
160 |  | Outlet | 20 | EA | 140 | 90 | 230 | 4600
161 |  | Data Outlet | 12 | EA | 140 | 90 | 230 | 2760
162 |  | Junction Box | 6 | EA | 150 | 100 | 250 | 1500
163 |  | Wall Mounted TV | 4 | EA | 150 | 100 | 250 | 1000
164 |  | Horn | 4 | EA | 200 | 100 | 300 | 1200
165 |  | Smoke Detector | 4 | EA | 200 | 100 | 300 | 1200
166 |  | Switch | 18 | EA | 70 | 50 | 120 | 2160
167 |  | WAP Light | 2 | EA | 300 | 150 | 450 | 900
168 |  | Sconce | 4 | EA | 200 | 100 | 300 | 1200
169 |  | Junction Box | 2 | EA | 150 | 100 | 250 | 500
170 |  | Thermostat | 4 | EA | 150 | 100 | 250 | 1000
171 |  | Electrical Panel | 2 | EA | 1600 | 800 | 2400 | 4800
172 |  | Emergency Outlet | 6 | EA | 140 | 90 | 230 | 1380
173 |  | Recessed Downlight | 12 | EA | 300 | 150 | 450 | 5400
174 |  | Recessed Ceiling Light | 2 | EA | 300 | 150 | 450 | 900
175 |  | 3 Way Switch | 2 | EA | 70 | 50 | 120 | 240
176 |  | Night Light | 2 | EA | 300 | 150 | 450 | 900
Queen One Bedroom - 2 ADA / Connecting
177 |  | Duplex Receptacle | 4 | EA | 150 | 100 | 250 | 1000
178 |  | Outlet | 20 | EA | 140 | 90 | 230 | 4600
179 |  | Data Outlet | 12 | EA | 140 | 90 | 230 | 2760
180 |  | Junction Box | 6 | EA | 150 | 100 | 250 | 1500
181 |  | Wall Mounted TV | 4 | EA | 150 | 100 | 250 | 1000
182 |  | Horn | 4 | EA | 200 | 100 | 300 | 1200
183 |  | Smoke Detector | 4 | EA | 200 | 100 | 300 | 1200
184 |  | Switch | 18 | EA | 70 | 50 | 120 | 2160
185 |  | WAP Light | 2 | EA | 300 | 150 | 450 | 900
186 |  | Sconce | 4 | EA | 200 | 100 | 300 | 1200
187 |  | Junction Box | 2 | EA | 150 | 100 | 250 | 500
188 |  | Thermostat | 4 | EA | 150 | 100 | 250 | 1000
189 |  | Electrical Panel | 2 | EA | 1600 | 800 | 2400 | 4800
190 |  | Emergency Outlet | 6 | EA | 140 | 90 | 230 | 1380
191 |  | Recessed Downlight | 12 | EA | 300 | 150 | 450 | 5400
192 |  | Recessed Ceiling Light | 2 | EA | 300 | 150 | 450 | 900
193 |  | 3 Way Switch | 2 | EA | 70 | 50 | 120 | 240
194 |  | Night Light | 2 | EA | 300 | 150 | 450 | 900
|  | Subtotal (Electrical) | [6 empty] | 1460695.75
SUBTOTAL | [8 empty] | 1460695.75
OVERHEAD |  | 15% | [6 empty] | 219104.3625
INSURANCE |  | 3% | [6 empty] | 43820.8725
CONTINGENCY |  | 5% | [6 empty] | 73034.7875
TOTAL BASE BID | [8 empty] | 1796655.7725
Note: