## Breakdown
Estimate of Materials and Cost of Construction
[12 empty] | Summary | Amount
[12 empty] | Subtotal | 401745.0556
[12 empty] | Profit/Overhead | 120523.5167
[12 empty] | Total | 522268.5722
Item # | Ref. Sheet | Detail Sheet Ref. | CSI Ref. | Description | Quantity | Wastage | Quantity w/ Wastage | Unit | Unit Material Cost | Total Material Cost | Unit Labour Cost | Total Labour Cost | Total Item Cost | Trade Cost
|  |  | DIV-01 | GENERAL | [9 empty] | 0
1 |  |  |  | Permit | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
2 |  |  |  | Supervision | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
3 |  |  |  | Final Cleanup | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
4 |  |  |  | Mobilization Cost | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
5 |  |  |  | Project Overheads | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
6 |  |  |  | Bonds | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
7 |  |  |  | Fees (Architect & Engineer) | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
8 |  |  |  | Temporary Control & Facilities | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
|  |  | DIV-02 | Site Work/ Existing Conditions | [9 empty] | 30469.6289
| AE101 To AE107 |  |  | Demolition
9 |  |  |  | Remove & Reinstall Existing Grid & Tiles To Install New Duct Work (Replace Damaged) | 11700.59 | 0% | 11700.59 | SF | 0 | 0 | 0.75 | 8775.4425 | 8775.4425
10 |  |  |  | (16" X 16") Saw Cut Portion Of Elevated Slab For Duct Penetration | 3.5378 | 0% | 3.5378 | SF | 0 | 0 | 52 | 183.9656 | 183.9656
11 |  |  |  | New 24" X 24" Access Panel | 2 | 0% | 2 | EA | 436 | 872 | 195 | 390 | 1262
12 |  |  |  | Remove Existing Roofing & Insulation & Re-Roof & Repair Existing Roof | 1404.27 | 0% | 1404.27 | SF | 0 | 0 | 2.94 | 4128.5538 | 4128.5538
Hvac Demolition
13 |  |  |  | Demolish All Existing Ductwork, Grilles,Diffusers, Valves & Dampers In This Area | 293.04 | 0% | 293.04 | SF | 0 | 0 | 8.6 | 2520.144 | 2520.144
14 |  |  |  | Existing Air Grille/Register To Be Removed | 26 | 0% | 26 | EA | 0 | 0 | 130 | 3380 | 3380
15 |  |  |  | Existing Thermostate To Be Removed | 2 | 0% | 2 | EA | 0 | 0 | 78 | 156 | 156
16 |  |  |  | 14 X6 Mechanical Duct To Be Removed | 28.78 | 0% | 28.78 | LF | 0 | 0 | 13.66 | 393.1348 | 393.1348
17 |  |  |  | 22 X10 Mechanical Duct To Be Removed | 12.04 | 0% | 12.04 | LF | 0 | 0 | 18.6 | 223.944 | 223.944
18 |  |  |  | (10"-20") Dia Mechanical Duct To Be Removed | 29.67 | 0% | 29.67 | LF | 0 | 0 | 16.41 | 486.8847 | 486.8847
19 |  |  |  | 16 X10 Mechanical Duct To Be Removed | 6.19 | 0% | 6.19 | LF | 0 | 0 | 16.1 | 99.659 | 99.659
20 |  |  |  | 34 X10 Mechanical Duct To Be Removed | 11.47 | 0% | 11.47 | LF | 0 | 0 | 25.3 | 290.191 | 290.191
21 |  |  |  | 10 X6 Mechanical Duct To Be Removed | 3.41 | 0% | 3.41 | LF | 0 | 0 | 12.1 | 41.261 | 41.261
22 |  |  |  | 8 X10 Mechanical Duct To Be Removed | 159.1 | 0% | 159.1 | LF | 0 | 0 | 11.3 | 1797.83 | 1797.83
23 |  |  |  | 6 X12 Mechanical Duct To Be Removed | 24.89 | 0% | 24.89 | LF | 0 | 0 | 10.96 | 272.7944 | 272.7944
24 |  |  |  | 14X8 Mechanical Duct To Be Removed | 70.58 | 0% | 70.58 | LF | 0 | 0 | 13.75 | 970.475 | 970.475
25 |  |  |  | 14 X10 Mechanical Duct To Be Removed | 18.55 | 0% | 18.55 | LF | 0 | 0 | 13.88 | 257.474 | 257.474
26 |  |  |  | 24 X12 Mechanical Duct To Be Removed | 29.24 | 0% | 29.24 | LF | 0 | 0 | 26.3 | 769.012 | 769.012
27 |  |  |  | 12 X12 Mechanical Duct To Be Removed | 17.98 | 0% | 17.98 | LF | 0 | 0 | 12.44 | 223.6712 | 223.6712
28 |  |  |  | 12 X14 Mechanical Duct To Be Removed | 27.66 | 0% | 27.66 | LF | 0 | 0 | 12.49 | 345.4734 | 345.4734
29 |  |  |  | (3"-10") Dia Mechanical Duct To Be Removed | 351.4 | 0% | 351.4 | LF | 0 | 0 | 10.62 | 3731.868 | 3731.868
30 |  |  |  | 8 X6 Mechanical Duct To Be Removed | 4.47 | 0% | 4.47 | LF | 0 | 0 | 11.35 | 50.7345 | 50.7345
31 |  |  |  | Flexible Duct To Be Removed | 12.99 | 0% | 12.99 | LF | 0 | 0 | 8.4 | 109.116 | 109.116
|  |  | DIV-03 | Concrete | [9 empty] | 1645.0738
Equipment Pad
AE101 To AE103
32 |  |  |  | (4'-0" X 7'-2"X 6" Thick) Concrete Mechanical Equipment Pad | 0.53037 | 5% | 0.55689 | CY | 366 | 203.8213 | 275 | 153.1444 | 356.9658
33 |  |  |  | (2'-0" X 2'-4" X 6" Thick) Concrete Mechanical Equipment Pad | 0.086296 | 5% | 0.090611 | CY | 366 | 33.1637 | 275 | 24.9181 | 58.0817
34 |  |  |  | (1'-9" X 6'-2" X 6" Thick) Concrete Mechanical Equipment Pad | 0.19963 | 5% | 0.20961 | CY | 366 | 76.7177 | 275 | 57.6431 | 134.3607
35 |  |  |  | (5'-0" X 6'-0" X 6" Thick) Concrete Mechanical Equipment Pad | 0.55556 | 5% | 0.58333 | CY | 366 | 213.5 | 275 | 160.4167 | 373.9167
36 |  |  |  | (6'-0" X 4'-2" X 14" Thick) Concrete Electrical Equipment Pad | 1.0724 | 5% | 1.126 | CY | 366 | 412.1062 | 275 | 309.6427 | 721.7489
|  |  | DIV-09 | Finishes | [9 empty] | 620.7793
Partition Walls
AE104
2nd Floor
37 |  |  |  | 4" Metal Studs (14' H) (16 Gauge) @ 16" Oc | 76.02 | 5% | 79.821 | SF | 1.64 | 130.9064 | 1.6 | 127.7136 | 258.62
38 |  |  |  | 4" Metal Runner Track | 10.86 | 5% | 11.403 | LF | 2.39 | 27.2532 | 2.44 | 27.8233 | 55.0765
39 |  |  |  | Sealant | 5.43 | 5% | 5.7015 | LF | 0.16 | 0.91224 | 0.5 | 2.8508 | 3.763
40 |  |  |  | 5/8" Gypsum Wall Board | 76.02 | 5% | 79.821 | SF | 0.6 | 47.8926 | 1.58 | 126.1172 | 174.0098
41 |  |  |  | Paint @ Gypsum Wall Board | 76.02 | 5% | 79.821 | SF | 0.32 | 25.5427 | 1.3 | 103.7673 | 129.31
|  |  | DIV-23 | Heat Ventilating & Air Conditioning | [9 empty] | 369009.5736
Duct Work
MH001 To MH601
42 |  |  |  | 12" Dia Mechanical Duct | 76.46 | 5% | 80.283 | LF | 8.2656 | 663.5872 | 17.22 | 1382.4733 | 2046.0604
43 |  |  |  | 10" Dia Mechanical Duct | 197.065 | 5% | 206.9183 | LF | 7.6608 | 1585.1593 | 15.96 | 3302.4153 | 4887.5746
44 |  |  |  | 8" Dia Mechanical Duct | 129.16 | 5% | 135.618 | LF | 6.7824 | 919.8155 | 14.13 | 1916.2823 | 2836.0979
45 |  |  |  | 6" Dia Mechanical Duct | 83.07 | 5% | 87.2235 | LF | 5.7696 | 503.2447 | 12.02 | 1048.4265 | 1551.6712
46 |  |  |  | 8 X 8 Mechanical Duct | 127.81 | 5% | 134.2005 | LF | 6.8784 | 923.0847 | 14.33 | 1923.0932 | 2846.1779
47 |  |  |  | 10 X 12 Mechanical Duct | 46.8114 | 5% | 49.152 | LF | 7.776 | 382.2057 | 16.2 | 796.2619 | 1178.4676
48 |  |  |  | 10 X 10 Mechanical Duct | 135.97 | 5% | 142.7685 | LF | 7.848 | 1120.4472 | 16.35 | 2334.265 | 3454.7122
49 |  |  |  | 10 X 8 Mechanical Duct | 71.88 | 5% | 75.474 | LF | 8.0352 | 606.4487 | 16.74 | 1263.4348 | 1869.8834
50 |  |  |  | 12" X 8" Mechanical Duct | 17.58 | 5% | 18.459 | LF | 8.256 | 152.3975 | 17.2 | 317.4948 | 469.8923
51 |  |  |  | 12 X 12 Mechanical Duct | 39.42 | 5% | 41.391 | LF | 8.3808 | 346.8897 | 17.46 | 722.6869 | 1069.5766
52 |  |  |  | 14 X 8 Mechanical Duct | 5.7184 | 5% | 6.0043 | LF | 8.52 | 51.1568 | 17.75 | 106.5767 | 157.7335
53 |  |  |  | 14 X 10 Mechanical Duct | 3.57 | 5% | 3.7485 | LF | 8.784 | 32.9268 | 18.3 | 68.5975 | 101.5244
54 |  |  |  | 14 X 14 Mechanical Duct | 17.29 | 5% | 18.1545 | LF | 8.8608 | 160.8634 | 18.46 | 335.1321 | 495.9955
55 |  |  |  | 18 X 10 Mechanical Duct | 12 | 5% | 12.6 | LF | 15.026 | 189.3276 | 27.32 | 344.232 | 533.5596
56 |  |  |  | 18 X 12 Mechanical Duct | 17.13 | 5% | 17.9865 | LF | 15.213 | 273.6286 | 27.66 | 497.5066 | 771.1352
57 |  |  |  | 20 X 10 Mechanical Duct | 17.85 | 5% | 18.7425 | LF | 19.91 | 373.1632 | 36.2 | 678.4785 | 1051.6417
58 |  |  |  | 24 X 10 Mechanical Duct | 10.87 | 5% | 11.4135 | LF | 25.2505 | 288.1966 | 45.91 | 523.9938 | 812.1904
59 |  |  |  | 24 X 12 Mechanical Duct | 29.51 | 5% | 30.9855 | LF | 25.4815 | 789.557 | 46.33 | 1435.5582 | 2225.1152
60 |  |  |  | 28 X 12 Mechanical Duct | 4.2 | 5% | 4.41 | LF | 30.305 | 133.6451 | 55.1 | 242.991 | 376.6361
61 |  |  |  | 30 X 16 Mechanical Duct | 31.72 | 5% | 33.306 | LF | 34.265 | 1141.2301 | 62.3 | 2074.9638 | 3216.1939
62 |  |  |  | 34 X 12 Mechanical Duct | 19.83 | 5% | 20.8215 | LF | 39.952 | 831.8606 | 72.64 | 1512.4738 | 2344.3343
63 |  |  |  | 34 X 16 Mechanical Duct | 57.94 | 5% | 60.837 | LF | 40.6505 | 2473.0545 | 73.91 | 4496.4627 | 6969.5171
64 |  |  |  | 36 X 12 Mechanical Duct | 9.37 | 5% | 9.8385 | LF | 43.01 | 423.1539 | 78.2 | 769.3707 | 1192.5246
65 |  |  |  | 40 X 16 Mechanical Duct | 50.34 | 5% | 52.857 | LF | 54.746 | 2893.7093 | 88.3 | 4667.2731 | 7560.9824
66 |  |  |  | 20 X 12 Mechanical Duct | 11.1 | 5% | 11.655 | LF | 13.68 | 159.4404 | 28.5 | 332.1675 | 491.6079
67 |  |  |  | 42 X 12 Mechanical Duct | 6.36 | 5% | 6.678 | LF | 59.4208 | 396.8121 | 95.84 | 640.0195 | 1036.8316
68 |  |  |  | 26 X 12 Mechanical Duct | 2.06 | 5% | 2.163 | LF | 25.96 | 56.1515 | 47.2 | 102.0936 | 158.2451
69 |  |  |  | 42 X 16 Mechanical Duct | 38.23 | 5% | 40.1415 | LF | 59.4208 | 2385.24 | 95.84 | 3847.1614 | 6232.4014
70 |  |  |  | 48 X 16 Mechanical Duct | 11.42 | 5% | 11.991 | LF | 74.772 | 896.5911 | 120.6 | 1446.1146 | 2342.7057
71 |  |  |  | 40 X 12 Mechanical Duct | 16.11 | 5% | 16.9155 | LF | 55.986 | 947.0312 | 90.3 | 1527.4697 | 2474.5008
72 |  |  |  | 16 X 16 Mechanical Duct | 13 | 5% | 13.65 | LF | 13.968 | 190.6632 | 29.1 | 397.215 | 587.8782
Refrigerant Piping
73 |  |  |  | 2" Dia Mps: Medium Pressure Steam | 143.6 | 5% | 150.78 | LF | 12.65 | 1907.367 | 26.31 | 3967.0218 | 5874.3888
74 |  |  |  | 2-1/2" Dia Mps: Medium Pressure Steam | 198.22 | 5% | 208.131 | LF | 14.84 | 3088.664 | 30.72 | 6393.7843 | 9482.4484
75 |  |  |  | 3/4" Dia Mpr: Medium Pressure Steam Condensate Return | 174.42 | 5% | 183.141 | LF | 4.9 | 897.3909 | 12.33 | 2258.1285 | 3155.5194
76 |  |  |  | 1" Dia Mpr: Medium Pressure Steam Condensate Return | 165.09 | 5% | 173.3445 | LF | 5.62 | 974.1961 | 14.1 | 2444.1575 | 3418.3535
77 |  |  |  | 2-1/2" Chr: Chilled Water Return | 145.24 | 5% | 152.502 | LF | 14.84 | 2263.1297 | 30.72 | 4684.8614 | 6947.9911
78 |  |  |  | 2" Dia Chr: Chilled Water Return | 150.17 | 5% | 157.6785 | LF | 12.65 | 1994.633 | 26.31 | 4148.5213 | 6143.1544
79 |  |  |  | 3" Dia Chr: Chilled Water Return | 34.43 | 5% | 36.1515 | LF | 17.1 | 618.1907 | 36.88 | 1333.2673 | 1951.458
80 |  |  |  | 3" Dia Cws: Condenser Water Supply | 36.87 | 5% | 38.7135 | LF | 17.1 | 662.0009 | 36.88 | 1427.7539 | 2089.7547
81 |  |  |  | 2-1/2" Dia Cws: Condenser Water Supply | 148.4 | 5% | 155.82 | LF | 14.84 | 2312.3688 | 30.72 | 4786.7904 | 7099.1592
82 |  |  |  | 2" Dia Cws: Condenser Water Supply | 148.96 | 5% | 156.408 | LF | 12.65 | 1978.5612 | 26.31 | 4115.0945 | 6093.6557
83 |  |  |  | 1-1/2" Dia Mps: Medium Pressure Steam | 29.77 | 5% | 31.2585 | LF | 8.32 | 260.0707 | 18.86 | 589.5353 | 849.606
84 |  |  |  | 1-1/4" Dia Mpr: Medium Pressure Steam Condensate Return | 54.17 | 5% | 56.8785 | LF | 6.94 | 394.7368 | 16.95 | 964.0906 | 1358.8274
85 |  |  |  | 3" Dia Mps: Medium Pressure Steam | 189.16 | 5% | 198.618 | LF | 17.1 | 3396.3678 | 36.88 | 7325.0318 | 10721.3996
86 |  |  |  | 2" Dia Mpr: Medium Pressure Steam Condensate Return | 11.59 | 5% | 12.1695 | LF | 12.65 | 153.9442 | 26.31 | 320.1795 | 474.1237
Water Heating Supply
87 |  |  |  | 2" Dia Hws: Hot Water Heating Supply | 46.26 | 5% | 48.573 | LF | 12.65 | 614.4484 | 26.31 | 1277.9556 | 1892.4041
88 |  |  |  | 2" Dia Hwr: Hot Water Heating Return | 71.01 | 5% | 74.5605 | LF | 12.65 | 943.1903 | 26.31 | 1961.6868 | 2904.8771
89 |  |  |  | 1" Dia Hps:High Pressure Steam | 20.28 | 5% | 21.294 | LF | 5.62 | 119.6723 | 14.1 | 300.2454 | 419.9177
90 |  |  |  | 3" Dia Hps:High Pressure Steam | 25.77 | 5% | 27.0585 | LF | 17.1 | 462.7004 | 36.88 | 997.9175 | 1460.6178
91 |  |  |  | 1-1/2" Dia Hws: Hot Water Heating Supply | 693.39 | 5% | 728.0595 | LF | 8.32 | 6057.455 | 18.86 | 13731.2022 | 19788.6572
92 |  |  |  | 1-1/2" Dia Hwr: Hot Water Heating Return | 694.01 | 5% | 728.7105 | LF | 8.32 | 6062.8714 | 18.86 | 13743.48 | 19806.3514
93 |  |  |  | 1-1/4" Dia Hwr: Hot Water Heating Return | 134.89 | 5% | 141.6345 | LF | 8.32 | 1178.399 | 18.86 | 2671.2267 | 3849.6257
94 |  |  |  | 1-1/4" Dia Hws: Hot Water Heating Supply | 133.25 | 5% | 139.9125 | LF | 6.94 | 970.9928 | 16.95 | 2371.5169 | 3342.5096
95 |  |  |  | 1" Dia Hwr: Hot Water Heating Return | 6.5 | 5% | 6.825 | LF | 5.62 | 38.3565 | 14.1 | 96.2325 | 134.589
96 |  |  |  | 1" Dia Hws: Hot Water Heating Supply | 6.13 | 5% | 6.4365 | LF | 5.62 | 36.1731 | 14.1 | 90.7547 | 126.9278
97 |  |  |  | 3/4" Dia Hwr: Hot Water Heating Return | 19.3 | 5% | 20.265 | LF | 4.9 | 99.2985 | 12.33 | 249.8675 | 349.166
98 |  |  |  | 3/4" Dia Hws: Hot Water Heating Supply | 21.74 | 5% | 22.827 | LF | 4.9 | 111.8523 | 12.33 | 281.4569 | 393.3092
Duct Riser
99 |  |  |  | 14 X 14 Mechanical Duct Riser (12' H) | 24 | 5% | 25.2 | LF | 8.8608 | 223.2922 | 18.46 | 465.192 | 688.4842
100 |  |  |  | 34 X 16 Mechanical Duct Riser (12' H) | 12 | 5% | 12.6 | LF | 40.6505 | 512.1963 | 73.91 | 931.266 | 1443.4623
101 |  |  |  | 42 X 16 Mechanical Duct Riser (12' H) | 12 | 5% | 12.6 | LF | 59.4208 | 748.7021 | 95.84 | 1207.584 | 1956.2861
102 |  |  |  | 16 X 16 Mechanical Duct Riser (12' H) | 12 | 5% | 12.6 | LF | 13.968 | 175.9968 | 29.1 | 366.66 | 542.6568
103 |  |  |  | 2-1/2" Dia Mps Riser (24' H): Medium Pressure Steam | 24 | 5% | 25.2 | LF | 14.84 | 373.968 | 30.72 | 774.144 | 1148.112
104 |  |  |  | 1" Dia Mpr Riser (24' H): Medium Pressure Steam Condensate Return | 24 | 5% | 25.2 | LF | 5.62 | 141.624 | 14.1 | 355.32 | 496.944
105 |  |  |  | 2" Dia Hws Riser (24' H) : Hot Water Heating Supply | 24 | 5% | 25.2 | LF | 12.65 | 318.78 | 26.31 | 663.012 | 981.792
106 |  |  |  | 2" Dia Hwr Riser (24' H): Hot Water Heating Return | 24 | 5% | 25.2 | LF | 12.65 | 318.78 | 26.31 | 663.012 | 981.792
107 |  |  |  | 14X 14 Duct Riser (24' H) | 24 | 5% | 25.2 | LF | 8.8608 | 223.2922 | 18.46 | 465.192 | 688.4842
108 |  |  |  | 16 X 16 Duct Riser (24' H) | 24 | 5% | 25.2 | LF | 13.968 | 351.9936 | 29.1 | 733.32 | 1085.3136
109 |  |  |  | 18 X 12 Duct Riser (24' H) | 24 | 5% | 25.2 | LF | 15.213 | 383.3676 | 27.66 | 697.032 | 1080.3996
110 |  |  |  | 20 X 12 Duct Riser (24' H) | 24 | 5% | 25.2 | LF | 19.91 | 501.732 | 36.2 | 912.24 | 1413.972
111 |  |  |  | 24 X 12 Duct Riser (24' H) | 24 | 5% | 25.2 | LF | 25.4815 | 642.1338 | 46.33 | 1167.516 | 1809.6498
112 |  |  |  | 40 X 12 Duct Riser (24' H) | 24 | 5% | 25.2 | LF | 55.62 | 1401.624 | 89.3 | 2250.36 | 3651.984
Mechanical Fixtures
113 |  |  |  | Tag A: (24 X24) Diffuser (Mfr: Naailor, Model: Uni-Rc, 6" Dia Neck Size, 40-100 Cfm) | 7 | 0% | 7 | EA | 185 | 1295 | 103.6 | 725.2 | 2020.2
114 |  |  |  | Tag A: (24 X24) Diffuser (Mfr: Naailor, Model: Uni-Rc, 8" Dia Neck Size, 125-215 Cfm) | 10 | 0% | 10 | EA | 208 | 2080 | 116.48 | 1164.8 | 3244.8
115 |  |  |  | Tag A: (24 X24) Diffuser (Mfr: Naailor, Model: Uni-Rc, 10" Dia Neck Size, 250-320 Cfm) | 14 | 0% | 14 | EA | 233 | 3262 | 130.48 | 1826.72 | 5088.72
116 |  |  |  | Tag A: (24 X24) Diffuser (Mfr: Naailor, Model: Uni-Rc, 12" Dia Neck Size, 420-700 Cfm) | 3 | 0% | 3 | EA | 264 | 792 | 147.84 | 443.52 | 1235.52
117 |  |  |  | Tag P: (24 X24) Diffuser (Mfr: Naailor, Model: 5010R-Ctd, 6" Dia Neck Size, 50-100 Cfm) | 6 | 0% | 6 | EA | 185 | 1110 | 103.6 | 621.6 | 1731.6
118 |  |  |  | Tag P: (24 X24) Diffuser (Mfr: Naailor, Model: 5010R-Ctd, 10" Dia Neck Size, 250 Cfm) | 4 | 0% | 4 | EA | 208 | 832 | 116.48 | 465.92 | 1297.92
119 |  |  |  | Tag P: (24 X24) Diffuser (Mfr: Naailor, Model: 5010R-Ctd, 10" Dia Neck Size, 350 Cfm) | 1 | 0% | 1 | EA | 208 | 208 | 116.48 | 116.48 | 324.48
120 |  |  |  | Tag P: (24 X24) Diffuser (Mfr: Naailor, Model: 5010R-Ctd, 12" Dia Neck Size, 500 Cfm) | 3 | 0% | 3 | EA | 264 | 792 | 147.84 | 443.52 | 1235.52
121 |  |  |  | Tag P: (24 X24) Diffuser (Mfr: Naailor, Model: 5010R-Ctd, 8" Dia Neck Size, 200 Cfm) | 1 | 0% | 1 | EA | 208 | 208 | 116.48 | 116.48 | 324.48
122 |  |  |  | Volume Damper | 44 | 0% | 44 | EA | 156 | 6864 | 90 | 3960 | 10824
123 |  |  |  | Thermostate | 14 | 0% | 14 | EA | 71 | 994 | 50 | 700 | 1694
Equipment
124 |  |  |  | Tu-Endo 1: Cav Air Terminal Unit, Capacity 125 Cfm | 1 | 0% | 1 | EA | 1062 | 1062 | 573.48 | 573.48 | 1635.48
125 |  |  |  | Tu-Endo 2: Cav Air Terminal Unit, Capacity 150 Cfm | 1 | 0% | 1 | EA | 1243 | 1243 | 671.22 | 671.22 | 1914.22
126 |  |  |  | Tu-Endo 3: Cav Air Terminal Unit, Capacity 455 Cfm | 1 | 0% | 1 | EA | 1712 | 1712 | 924.48 | 924.48 | 2636.48
127 |  |  |  | Tu-Endo 4: Vav Air Terminal Unit, Capacity 230-300 Cfm | 1 | 0% | 1 | EA | 1392 | 1392 | 751.68 | 751.68 | 2143.68
128 |  |  |  | Tu-Ent 1: Cav Air Terminal Unit, Capacity 370 Cfm | 1 | 0% | 1 | EA | 1466 | 1466 | 791.64 | 791.64 | 2257.64
129 |  |  |  | Tu-Ent 2: Cav Air Terminal Unit, Capacity 370 Cfm | 1 | 0% | 1 | EA | 1466 | 1466 | 791.64 | 791.64 | 2257.64
130 |  |  |  | Tu-Ent 3: Cav Air Terminal Unit, Capacity 320 Cfm | 1 | 0% | 1 | EA | 1420 | 1420 | 766.8 | 766.8 | 2186.8
131 |  |  |  | Tu-Ent 4 : Cav Air Terminal Unit, Capacity 320 Cfm | 1 | 0% | 1 | EA | 1420 | 1420 | 766.8 | 766.8 | 2186.8
132 |  |  |  | Tu-Ent 5: Cav Air Terminal Unit, Capacity 500 Cfm | 1 | 0% | 1 | EA | 1896 | 1896 | 1023.84 | 1023.84 | 2919.84
133 |  |  |  | Tu-Ent 6: Cav Air Terminal Unit, Capacity 200 Cfm | 1 | 0% | 1 | EA | 1355 | 1355 | 731.7 | 731.7 | 2086.7
134 |  |  |  | Tu-Msurg-1: Cav Air Terminal Unit, Capacity 420 Cfm | 1 | 0% | 1 | EA | 1700 | 1700 | 918 | 918 | 2618
135 |  |  |  | Tu-Msurg-2: Cav Air Terminal Unit, Capacity 520 Cfm | 1 | 0% | 1 | EA | 1910 | 1910 | 1031.4 | 1031.4 | 2941.4
136 |  |  |  | Tu-Msurg-3: Cav Air Terminal Unit, Capacity 800 Cfm | 1 | 0% | 1 | EA | 2466 | 2466 | 1331.64 | 1331.64 | 3797.64
137 |  |  |  | Tu-Msurg-4: Cav Air Terminal Unit, Capacity 520 Cfm | 1 | 0% | 1 | EA | 1896 | 1896 | 1023.84 | 1023.84 | 2919.84
138 |  |  |  | Afcv-1: Supply Airflow Control Valve, 8" Inlet Size, 400 Cfm | 1 | 0% | 1 | EA | 1700 | 1700 | 918 | 918 | 2618
139 |  |  |  | Afcv-2: Supply Airflow Control Valve, 8" Inlet Size, 400 Cfm | 1 | 0% | 1 | EA | 1700 | 1700 | 918 | 918 | 2618
140 |  |  |  | Afcv-3: Exhaust Airflow Control Valve, 12" Inlet Size, 500 Cfm | 1 | 0% | 1 | EA | 1896 | 1896 | 1023.84 | 1023.84 | 2919.84
141 |  |  |  | Afcv-4: Exhaust Airflow Control Valve, 12" Inlet Size, 500 Cfm | 1 | 0% | 1 | EA | 1896 | 1896 | 1023.84 | 1023.84 | 2919.84
142 |  |  |  | Et-1: Expansion Tank , Capacity 33.6 Gal | 1 | 0% | 1 | EA | 2714 | 2714 | 1125 | 1125 | 3839
143 |  |  |  | As-1:Air Separator , Size 3", Capacity 25 Gpm | 1 | 0% | 1 | EA | 763 | 763 | 298 | 298 | 1061
144 |  |  |  | Pressure Reducing Station (80 Psi To 60 Psi) | 1 | 0% | 1 | EA | 492 | 492 | 200 | 200 | 692
145 |  |  |  | Pressure Reducing Station (60 Psi To 30 Psi) | 1 | 0% | 1 | EA | 492 | 492 | 200 | 200 | 692
146 |  |  |  | Hwp-1: Pump (460 V,1 Hp, 3 Phase, 60 Hz,25 Gpm) | 1 | 0% | 1 | EA | 1846 | 1846 | 877 | 877 | 2723
147 |  |  |  | Hwp-2: Pump (460 V,1 Hp, 3 Phase, 60 Hz,25 Gpm) | 1 | 0% | 1 | EA | 1846 | 1846 | 877 | 877 | 2723
148 |  |  |  | Hx-1: Heat Exchanger (Mfr: Bell & Gossett, Model: Qsus-412-2, 25 Gpm, Capacity 244.17 Mbh) | 1 | 0% | 1 | EA | 1275 | 1275 | 530 | 530 | 1805
149 |  |  |  | Hx-2: Heat Exchanger (Mfr: Bell & Gossett, Model: Qsus-412-2, 25 Gpm, Capacity 244.17 Mbh) | 1 | 0% | 1 | EA | 1275 | 1275 | 530 | 530 | 1805
150 |  |  |  | Hx-V1: Redundant Heat Exchanger Vertically Stacked | 1 | 0% | 1 | EA | 1108 | 1108 | 500 | 500 | 1608
151 |  |  |  | Hx-V2: Redundant Heat Exchanger Vertically Stacked | 1 | 0% | 1 | EA | 1108 | 1108 | 500 | 500 | 1608
152 |  |  |  | New Steam Condensate Pakage (-Duplex W/ Flash Tank, Spirax Sarco Ptc/Ptf 3X2, 11750 Lbs/Hr Ea Pump, 80 Psi Motive Steam,30 Psi Back Pressure) | 1 | 0% | 1 | EA | 3000 | 3000 | 2246 | 2246 | 5246
153 |  |  |  | Ef-Endo: Exhaust Fan (Mfr: Greenheck, Model: Usf-16, 2000 Cfm, Centrifugal Type, 1530 Rpm, 1.19 Bhp) | 1 | 0% | 1 | EA | 268 | 268 | 145 | 145 | 413
154 |  |  |  | Ahu-Ent : Air Handling Unit ,Roof Mounted, Capacity 8000 Cfm | 1 | 0% | 1 | EA | 11025 | 11025 | 4380 | 4380 | 15405
155 |  |  |  | Ahu-Msurg : Air Handling Unit ,Roof Mounted, Capacity 2750 Cfm | 1 | 0% | 1 | EA | 5066 | 5066 | 1986 | 1986 | 7052
156 |  |  |  | Ahu-Pod : Air Handling Unit ,Roof Mounted, Capacity 2200 Cfm | 1 | 0% | 1 | EA | 4382 | 4382 | 1905 | 1905 | 6287
157 |  |  |  | Ahu-Endo : Air Handling Unit ,Roof Mounted, Capacity 8000 Cfm | 1 | 0% | 1 | EA | 11025 | 11025 | 4380 | 4380 | 15405
158 |  |  |  | Acc-Ent : Air Coiled Chiller, Capacity 52 Tons, | 2 | 0% | 2 | EA | 5620 | 11240 | 2823 | 5646 | 16886
Valves
159 |  |  |  | 2" Automatic Isolation Valve | 1 | 0% | 1 | EA | 584 | 584 | 250 | 250 | 834
160 |  |  |  | 3" Gate Valve | 1 | 0% | 1 | EA | 773 | 773 | 308 | 308 | 1081
161 |  |  |  | 2" Gate Valve | 1 | 0% | 1 | EA | 620 | 620 | 272 | 272 | 892
162 |  |  |  | Globe Valve | 16 | 0% | 16 | EA | 212 | 3392 | 95 | 1520 | 4912
SUB TOTAL | [8 empty] | Total Mat. Cost = | 180576.0134 | Total Lab. Cost = | 221169.0421 | 401745.0556 | 401745.0556
INSURANCE | [8 empty] | 5% |  |  |  | 20087.2528 | 20087.2528
OVERHEAD AND PROFIT | [8 empty] | 25% |  |  |  | 100436.2639 | 100436.2639
TOTAL BASE BID | [12 empty] | 522268.5722 | 522268.5722
NOTES FOR CONTRACTOR: